| Agency: |  | Region: |  |  |  |  |  | County: Upshur |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Vehicle Location: | Unit Number: |  |  | WVOEMS Sticker: |  |  | Expiration Date: |  |  |  |
| Vehicle VIN Number: |  | Vehicle Make: |  |  |  | Vehicle Year: |  |  |  |  |
| License Plate/Tail Number: | Type of Plate: |  |  |  |  |  |  |  |  |  |
|  | ☐ City |  | ☐ County |  | ☐ Fire Dept. |  |  |  | ☐ Class A | ☐ Other |

| Mileage: |  |  | Class Applied For: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | ☐ Class A (FR/BLS/ALS) |  |  |  | ☐ Class B (BLS) |  |  |  | ☐ Class C (ALS) |  | ☐ Class D (CCT ground) |  |  | ☐ Class E (CCT Air) |  |  | ☐ Class F SMPMT Vehicles |
| Primary Colors of Vehicle: |  |  |  |  |  |  |  |  |  |  |  | Four Wheel Drive: ☐ Yes ☐ No |  |  |  |  |  |  |  |
| Current Vehicle Insurance: |  |  |  |  |  |  |  | WV State Inspection Sticker: |  |  |  |  |  |  |  |  |  |  |  |
| ☐ Yes | ☐ No | Expiration Date: |  |  |  |  |  | ☐ Yes |  |  |  | ☐ No |  | Expiration Date: 12/21 |  |  |  |  |  |
| Patient Transport Vehicle Apparatus Equipment: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| ☐ Operational Warning Lights (All Four Sides) |  |  | ☐ Operative Siren |  |  |  |  | ☐ Operative Communication System |  |  |  |  |  |  |  |  | ☐ Reflective Marking (only after July 1, 2018) |  |  |
| ☐ Public Access Emergency Number |  |  |  |  |  |  |  |  | ☐ Lockable Medication Storage Compartments N/A BLS |  |  |  |  |  |  |  |  |  |  |
| ☐ Seatbelts for All Seat Positions |  |  |  | ☐ Waterless Antibacterial Hand Sanitizer |  |  |  |  |  |  |  |  |  |  | ☐ Disinfectant Solution for Interior Cleaning |  |  |  |  |
| Specific Requirements for Class F Specialty Multi Patient Medical Transport (SMPMT) Vehicles Commercial/Modified Passenger Van) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| ☐ Operative Communication System |  |  |  |  | ☐ Seatbelts for All Seat Positions |  |  |  |  |  |  |  |  |  | ☐ Agency Name Both Side/Rear 4-inch Letters |  |  |  |  |
| ☐ NO Emergency Designation Lettering Or the word Ambulance |  |  |  |  |  | ☐ NO Star of Life Symbols |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Meets Requirements For: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| ☐ FR | ☐ BLS | ☐ ALS | ☐ CCT |  |  | ☐ SMPMT |  |  |  | ☐ Other (Specify): |  |  |  |  |  |  |  |  |  |
| ☐ Vehicle DOES NOT MEET Requirements (Document below or attach additional documentation) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Inspection Deficiency: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Item |  | Problem |  |  |  |  |  | Resolution |  |  |  |  |  |  |  | Date |  | Initials of Inspector |  |
| COMMENTS: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Cardiac Monitor Name: Cardiac Monitor SN: Calibration Test:: ☒ pass ☐ failed |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| WVOEMS Inspections Sticker Number: Month: Year Expired: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Agency Official Representative Name: |  |  |  |  |  |  |  | WVOEMS Inspector Name: |  |  |  |  |  |  |  |  |  |  |  |
| Agency Official Representative Signature: |  |  |  |  |  |  |  | WVOEMS Inspector Signature |  |  |  |  |  |  |  |  |  |  |  |
| Date of Inspection: |  |  |  |  |  |  |  | Date of Inspection: Click or tap to enter a date. |  |  |  |  |  |  |  |  |  |  |  |