|  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| A picture containing text, book  Description automatically generated  **EMS Vehicle Spot-Check Form** | | | | | | Agency: | | | | |  | | | | | | | | | | | |
| County: | | | | |  | | | | | | | | | | | |
| Agency Unit # | | | | |  | | | | | | | | | | | |
| Vehicle Stationed: | | | | |  | | | | | | | | | | | |
| Date of Inspection: | | | | |  | | | | | | | | | | | |
| WVOEMS Permit #: | | | | |  | | | | | | | | | | | |
| Provider WV # | | | | |  | | | | | | | | | | | |
| Provider WV # | | | | |  | | | | | | | | | | | |
| **Vehicle Information** | | | | | | | | | | | | | | | | | | | | | | |
| VIN #: | |  | | | | | Year: |  | | | | | | Make: | |  | | | | | | |
| License Tag #: | | | |  | | | Mileage: | | |  | | | | Valid Inspection | | | | YES | | | | NO |
| **All Items listed must meet full specification, quantities and other requirements as listed with in 64 CSR 48 and on the current Class A, B, C, or D EMS Vehicle Equipment and Supply List (Red = ALS required)** | | | | | | | | | | | | | | | | | | | | | | |
| YES | | | NO | Vehicle in good repair and operating condition | | | | | ☐ YES | | ☐ NO | | Safety belts operational for all seat positions | | | | ☐ YES | | | ☐ NO | | Emergency warning lights all 4 side |
| ☐ YES | | | ☐ NO | Interior clean and sanitary. | | | | | ☐ YES | | ☐ NO | | Lockable storage for Medication | | | | ☐ YES | | | ☐ NO | | Audible warning devices |
| ☐ YES | | | ☐ NO | Disposal Sharp Container | | | | | ☐ YES | | ☐ NO | | Communication equipment | | | | ☐ YES | | | ☐ NO | | Hand Radio |
| **Critical Equipment for Spot Inspection** | | | | | | | | | | | | | | | | | | | | | | |
| **Airway and Ventilation:** | | | | | | | | | | | | | | | | | | | | | | |
|  | On board oxygen system with 2 wall outlets | | | | | ☐ | Adult, child and infant ambu bag | | | | ☐ | Adult nasal cannula | | | | | | | ☐ | | Pediatric nasal cannula | |
| ☐ | Adjustable oxygen flow regulators | | | | | ☐ | Nasopharyngeal airways | | | | ☐ | Adult non-rebreather mask (NRB) | | | | | | | ☐ | | Pediatric non-rebreather mask (NRB) | |
| ☐ | Portable oxygen with non-gravity dependent oxygen flow regulator | | | | | ☐ | Oropharyngeal airways | | | | ☐ | Chest decompression large bore needle, minimum of .25” length 14-16 gauge for adult | | | | | | | ☐ | | Chest decompression large bore needle 1.25" 16 gauge for pediatric | |
| ☐ | Full spare portable oxygen cylinder (“D” | | | | | ☐ | King LT/LT-D airway kits–  sizes 3, 4, and 5 | | | | ☐ | CPAP device with 2 masks and tubing circuits | | | | | | | ☐ | | Handheld nebulizer with medication | |
| **Monitoring and Assessment** | | | | | | | | | | | | | | | | | | | | | | |
| ☐ | Blood Pressure thigh, adult, child | | | | | ☐ | AED with adult and pediatric  defibrillator pads | | | | ☐ | Pulse oximeter for adult and pediatric use | | | | | | | ☐ | | Cardiac Monitor | |
| ☐ | Stethoscope | | | | | ☐ | Commercial Arterial Tourniquet | | | | ☐ | Adult/Pedi end-tidal Co2 detectors | | | | | | | ☐ | | Glucometer with strips | |
| IV and Medication: | | | | | | | | | | | | | | | | | | | | | | |
| ☐ | IV Catheters | | | | | ☐ | Saline locks and flush | | | | ☐ | EZ-IO driver and catheters | | | | | | | ☐ | | Drip IV set 10-60gtts/ml | |
| ☐ | NS (0.9%)Fluid 1000ml bag | | | | | ☐ | Albuterol 2.5mg/3ml | | | | ☐ | Aspirin 81mg | | | | | | | ☐ | | Nitroglycerin, 0.4mg | |
| ☐ | Naloxone 4mg | | | | | ☐ | Glucagon, 1mg | | | | ☐ | Epinephrine, 1:1,000, 1mg total  (BLS MUST carry Epi 1:1000 -OR - Epi Pen | | | | | | | | | | |
| **OB** | | | | | | | | | | | | | | | | | | | | | | |
| ☐ | Sterile OB kits with bulb syringe | | | | | | | | | | ☐ | Fix suction system with rigid oral suction catheter | | | | | | | | | | |
| **Inspector** | | | | | | | | | | | | | | | | | | | | | | |
| Inspector Name: | | | | |  | | | | | | Inspector Signature: | | | |  | | | | | | | |